## SUMMARY
|  | SCOPE : | Drywall & Framing | Go to Basebid
|  | PROJECT LOCATION : | Langara Nursing Expansion Renovation, 170 West 49Th Ave, Vancouver, B.C.
|  | DATE SUBMITTED : | 2026-01-24
|  | PROJECT TYPE: | Commercial
|  | REVISION NO.: | 0
ITEM # | CSI DIV. | DESCRIPTION |  | TOTAL LABOR COST | TOTAL MATERIAL COST | TRADE COST
| 01 00 | GENERAL REQUIREMENTS |  | 0 | 0 | 5000
| 05 00 | METAL |  | 8971.05 | 14588.1 | 23559.15
| 09 00 | FINISHES |  | 14216.3175 | 8547.95 | 22764.2675
SUB TOTAL |  |  |  | 23187.3675 | 23136.05 | 51323.4175
MATERIAL TAX |  |  | 8.25% | 0 | 1908.7241 | 1908.7241
OVERHEAD & PROFIT / INFLATION (Material) |  |  | 10% | 0 | 2313.605 | 2313.605
OVERHEAD & PROFIT (Labor) |  |  | 15% | 3478.1051 | 0 | 3478.1051
BOND FEE |  |  | 1.5% |  |  | 885.3578
TOTAL BASE BID | [5 empty] | 59909.2095
| Note |  |  | Legend
1 | The drawings are scaled as per the mentioned scale on the provided drawings. |  |  | DIV. = Division
2 | The prices used above are standard prices unless otherwise noted. |  |  | F.C = Waste or diff. factor
D.O. = Daily Output
| Exclusions |  |  | LBR. HR. = Labor Hours
1 | Union Wages. |  |  | M = months
2 | Any work not mentioned above. |  |  | SF = square feet
3 | Building Charges (if any). |  |  | LF = linear feet
4 | Security fee (if any). |  |  | EA = each
CY = cubic yard
SY = square yard
LOC = location
LS = lump sum
LBS = pounds
|  | GENERAL REQUIREMENTS | 01 00
|  | SITE CONDITIONS | 02 00
|  | CONCRETE | 03 00
|  | MASONRY | 04 00
|  | METAL | 05 00
|  | WOOD, PLASTICS & COMPOSITES | 06 00
|  | WATERPROOFING | 07 00
|  | OPENNINGS | 08 00
|  | FINISHES | 09 00
|  | SPECIALITES | 10 00
|  | EQUIPMENT | 11 00
|  | FURNISHINGS | 12 00
|  | SPECIAL CONSTRUCTION | 13 00
|  | CONVEYING EQUIPMENTS | 14 00
|  | FIRE SUPPRESSION | 21 00
|  | PLUMBING | 22 00
|  | HVAC | 23 00
|  | INTEGRATED AUTOMATION | 25 00
|  | ELECTRICAL | 26 00
|  | COMMUNICATIONS | 27 00
|  | ELECTRONIC SAFETY AND SECURITY | 28 00
|  | EARTHWORK | 31 00
|  | EXTERIOR IMPROVEMENT | 32 00
|  | UTILITIES | 33 00

## BASE BID
|  | SCOPE : | Drywall & Framing | [8 empty] | Go to Summary
|  | PROJECT LOCATION : | Langara Nursing Expansion Renovation, 170 West 49Th Ave, Vancouver, B.C.
|  | DATE SUBMITTED : | 2026-01-24
|  | PROJECT TYPE: | Commercial
|  | REVISION NO.: | 0
ITEM # | CSI DIV. | DESCRIPTION | BARE QTY. | WASTAGE | QTY. WITH WASTAGE | UNIT | UNIT LABOR HOURS | TOTAL LABOR HOURS | PER HOUR LABOR RATE | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | ITEM COST | TRADE COST
| 01 00 | GENERAL REQUIREMENTS | [11 empty] | 5000
1 |  | Plan Design & Permitting | 1 | 0% | 1 | LS |  | 0 |  | 0 |  | 0 | 0
2 |  | Utilities | 1 | 0% | 1 | LS |  | 0 |  | 0 |  | 0 | 0
3 |  | Equipment & Tools | 1 | 0% | 1 | LS |  | 0 |  | 0 |  | 0 | 2600
4 |  | Signage & Promotion | 1 | 0% | 1 | LS |  | 0 |  | 0 |  | 0 | 0
5 |  | Cleaning & Final | 1 | 0% | 1 | LS |  | 0 |  | 0 |  | 0 | 0
6 |  | Bonds, Insurance, Legal | 1 | 0% | 1 | LS |  | 0 |  | 0 |  | 0 | 800
7 |  | Project Management & Supervision | 1 | 0% | 1 | LS |  | 0 |  | 0 |  | 0 | 1600
| 05 00 | METALS | [11 empty] | 23559.15
Wall Framing
S4a Interior Wall (2 M)(2780mm H)
8 |  | 92mm Metal Stud Wall @ 400mm Ctrs. (5.56 SM) | 13.9 | 5% | 15 | M | 0.06 | 0.9 | 55 | 49.5 | 6.3 | 94.5 | 144
9 |  | Head Tracking | 2 | 5% | 3 | M | 0.06 | 0.18 | 55 | 9.9 | 6.3 | 18.9 | 28.8
10 |  | Sole Tracking | 2 | 5% | 3 | M | 0.06 | 0.18 | 55 | 9.9 | 6.3 | 18.9 | 28.8
11 |  | Sealant | 8 | 5% | 9 | M | 0.03 | 0.27 | 55 | 14.85 | 1.2 | 10.8 | 25.65
S6 Interior Wall (74 M)(2780mm H)
12 |  | 152mm Metal Stud Wall @ 400mm Ctrs. (205.72 SM) | 514.3 | 5% | 541 | M | 0.1 | 54.1 | 55 | 2975.5 | 9.3 | 5031.3 | 8006.8
13 |  | Head Tracking | 74 | 5% | 78 | M | 0.1 | 7.8 | 55 | 429 | 9.3 | 725.4 | 1154.4
14 |  | Sole Tracking | 74 | 5% | 78 | M | 0.1 | 7.8 | 55 | 429 | 9.3 | 725.4 | 1154.4
15 |  | Sealant | 296 | 5% | 311 | M | 0.03 | 9.33 | 55 | 513.15 | 1.2 | 373.2 | 886.35
S6a Interior Wall (31 M)(2780mm H)
16 |  | 152mm Metal Stud Wall @ 400mm Ctrs. (86. 18 SM) | 215.45 | 5% | 227 | M | 0.1 | 22.7 | 55 | 1248.5 | 9.3 | 2111.1 | 3359.6
17 |  | Head Tracking | 31 | 5% | 33 | M | 0.1 | 3.3 | 55 | 181.5 | 9.3 | 306.9 | 488.4
18 |  | Sole Tracking | 31 | 5% | 33 | M | 0.1 | 3.3 | 55 | 181.5 | 9.3 | 306.9 | 488.4
19 |  | Sealant | 124 | 5% | 131 | M | 0.03 | 3.93 | 55 | 216.15 | 1.2 | 157.2 | 373.35
S4D Interior Wall (1 M)(2780mm H)
20 |  | (2)92mm Metal Stud Wall @ 400mm Ctrs. (2.78 SM) | 6.95 | 5% | 8 | M | 0.12 | 0.96 | 55 | 52.8 | 12.6 | 100.8 | 153.6
21 |  | (2)Head Tracking | 1 | 5% | 2 | M | 0.12 | 0.24 | 55 | 13.2 | 12.6 | 25.2 | 38.4
22 |  | (2)Sole Tracking | 1 | 5% | 2 | M | 0.12 | 0.24 | 55 | 13.2 | 12.6 | 25.2 | 38.4
23 |  | Sealant | 8 | 5% | 9 | M | 0.03 | 0.27 | 55 | 14.85 | 1.2 | 10.8 | 25.65
S4Da Interior Wall (1 M)(2780mm H)
24 |  | (2)92mm Metal Stud Wall @ 400mm Ctrs. (2.78 SM) | 6.95 | 5% | 8 | M | 0.12 | 0.96 | 55 | 52.8 | 12.6 | 100.8 | 153.6
25 |  | (2)Head Tracking | 1 | 5% | 2 | M | 0.12 | 0.24 | 55 | 13.2 | 12.6 | 25.2 | 38.4
26 |  | (2)Sole Tracking | 1 | 5% | 2 | M | 0.12 | 0.24 | 55 | 13.2 | 12.6 | 25.2 | 38.4
27 |  | Sealant | 8 | 5% | 9 | M | 0.03 | 0.27 | 55 | 14.85 | 1.2 | 10.8 | 25.65
SF4 Interior Wall (63 LF)(2780mm H)
28 |  | 92mm Metal Stud Wall @ 400mm Ctrs. (175. 14 SM) | 437.85 | 5% | 460 | M | 0.06 | 27.6 | 55 | 1518 | 6.3 | 2898 | 4416
29 |  | Head Tracking | 63 | 5% | 67 | M | 0.06 | 4.02 | 55 | 221.1 | 6.3 | 422.1 | 643.2
30 |  | Sole Tracking | 63 | 5% | 67 | M | 0.06 | 4.02 | 55 | 221.1 | 6.3 | 422.1 | 643.2
31 |  | Sealant | 126 | 5% | 133 | M | 0.03 | 3.99 | 55 | 219.45 | 1.2 | 159.6 | 379.05
SF1 Interior Wall (11 LF)(2780mm H)
32 |  | 22mm Hat Track @ 400mm Ctrs. (31 SM) | 30.58 | 5% | 33 | SM | 0.19 | 6.27 | 55 | 344.85 | 14.6 | 481.8 | 826.65
| 09 00 | FINISHES | [11 empty] | 22764.2675
Floor Finish
33 |  | 16mm Gypsum Wall Board | 800 | 5% | 840 | SM | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 |  | 1220mmW x 2400mmL no. of Panels | 273.224 | 0% | 274 | EA | 0.32 | 87.68 | 55 | 4822.4 | 20.86 | 5715.64 | 10538.04
35 |  | Panels Screws | 9836.0656 | 0% | 9837 | EA | 0.0005 | 4.9185 | 55 | 270.5175 | 0.05 | 491.85 | 762.3675
36 |  | Jointing Compound | 400 | 5% | 420 | KG | 0.287 | 120.54 | 55 | 6629.7 | 3.43 | 1440.6 | 8070.3
37 |  | Joint Taping | 1322.4044 | 5% | 1389 | M | 0.03 | 41.67 | 55 | 2291.85 | 0.56 | 777.84 | 3069.69
38 |  | 16mm Gypsum Wall Board | 11 | 5% | 12 | SM | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 |  | 1220mmW x 2400mmL no. of Panels | 3.7568 | 0% | 4 | EA | 0.32 | 1.28 | 55 | 70.4 | 20.86 | 83.44 | 153.84
40 |  | Panels Screws | 135.2459 | 0% | 136 | EA | 0.0005 | 0.068 | 55 | 3.74 | 0.05 | 6.8 | 10.54
41 |  | Jointing Compound | 5.5 | 5% | 6 | KG | 0.287 | 1.722 | 55 | 94.71 | 3.43 | 20.58 | 115.29
42 |  | Joint Taping | 18.1831 | 5% | 20 | M | 0.03 | 0.6 | 55 | 33 | 0.56 | 11.2 | 44.2
[8 empty] | 421.5885 |  | 23187.3675 |  | 23136.05 | 51323.4175 | 51323.4175
|  | GENERAL REQUIREMENTS | 01 00
|  | SITE CONDITIONS | 02 00
|  | CONCRETE | 03 00
|  | MASONRY | 04 00
|  | METAL | 05 00
|  | WOOD, PLASTICS & COMPOSITES | 06 00
|  | WATERPROOFING | 07 00
|  | OPENNINGS | 08 00
|  | FINISHES | 09 00
|  | SPECIALITES | 10 00
|  | EQUIPMENT | 11 00
|  | FURNISHINGS | 12 00
|  | SPECIAL CONSTRUCTION | 13 00
|  | CONVEYING EQUIPMENTS | 14 00
|  | FIRE SUPPRESSION | 21 00
|  | PLUMBING | 22 00
|  | HVAC | 23 00
|  | INTEGRATED AUTOMATION | 25 00
|  | ELECTRICAL | 26 00
|  | COMMUNICATIONS | 27 00
|  | ELECTRONIC SAFETY AND SECURITY | 28 00
|  | EARTHWORK | 31 00
|  | EXTERIOR IMPROVEMENT | 32 00
|  | UTILITIES | 33 00