## General Summary
GENERAL SUMMARY
DIVISION NO. | DESCRIPTION | TOTAL DIV. COST
1000 | General Requirments | 17000
26000 | Electrical | 112451.1847
TOTAL TRADE COST |  | 129451.1847
OVERHEAD AND PROFIT (10%) | 25% | 32362.7962
TAX (0%) | 0% | 0
TOTAL BASEBID |  | 161813.9808

## Takeoff Breakdown
DETAILED BREAKDOWN OF ITEMS
| Project Name |  | RCOM Ritchie Building
| Project Address |  | Washington Street, Ravenswood WV
| Scope: |  | Electrical
2025-09-19
S# | Dwg. | CSI NO | DESCRIPTION | QTY. | Wastage | Qty w/ Waste | UNIT | UNIT LABOR HOUR | TOTAL LABOR HOUR | LABOR WAGE/ HOUR | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | UNIT LABOR COST | UNIT PRICE | TRADE TOTAL
|  | 1 | DIVISION 01-GENERAL REQUIREMENTS
1 |  |  | Permits | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 |  |  | Supervision and Coordination | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  |  | Submittals and Shop drawings | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 |  |  | Final Cleaning | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 |  |  | Mobilization Costs | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 |  |  | Temporary Control & Facilities | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 |  |  | Scaffolding | 1 | 10% | 1.1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SUBTOTAL | [12 empty] | 17000
|  | 26 | DIVISION 26-ELECTRICAL
Lighting
8 |  |  | FL - FAN/LIGHT BATHROOM EXHAUST, .95CFM, .7 SONES, .25 ESP WITH CEILING RADIATION DAMPER GBR-CRD FOR FIRE RATING - Mfg: Cooper Lighting DELTA - Model: ELT-110LED | 5 | 0% | 5 | EA | 1 | 5 | 80 | 400 | 215 | 1075 | 80 | 295 | 1475
9 |  |  | L30 - 4' STRIP W/ACRYLIC LENS ELECTRONIC DRIVER - Mfg: LITHONIA COOPER DAY-BRITE - Model: ZL2NL48 3000LM | 7 | 0% | 7 | EA | 0.8 | 5.6 | 80 | 448 | 145 | 1015 | 64 | 209 | 1463
10 |  |  | L37 - 4' DECORATIVE KITCHEN LIGHT - Mfg: LITHONIA - Model: FMLRETL | 5 | 0% | 5 | EA | 0.8 | 4 | 80 | 320 | 130 | 650 | 64 | 194 | 970
11 |  |  | L38 - APARTMENT KITCHEN - Mfg: LITHONIA - Model: FMLCRSLS48IN | 6 | 0% | 6 | EA | 0.8 | 4.8 | 80 | 384 | 155 | 930 | 64 | 219 | 1314
12 |  |  | L45 - 16" DIA FLUSH MT BOWL - Mfg: KITCHLER - Model: 10761WHLED | 18 | 0% | 18 | EA | 0.6 | 10.8 | 80 | 864 | 95 | 1710 | 48 | 143 | 2574
13 |  |  | X1 - Exit Sign Light - Mfg: LITHONIA COOPER DAY-BRITE | 10 | 0% | 10 | EA | 0.6 | 6 | 80 | 480 | 80 | 800 | 48 | 128 | 1280
14 |  |  | Luminous Wall Sconce - Mfg: Cooper Lighting DELTA - Model: 605 Series LED | 5 | 0% | 5 | EA | 0.7 | 3.5 | 80 | 280 | 165 | 825 | 56 | 221 | 1105
Power
15 |  |  | Duplex Receptacle | 52 | 0% | 52 | EA | 0.35 | 18.2 | 80 | 1456 | 12 | 624 | 28 | 40 | 2080
16 |  |  | GFCI - Duplex Receptacle | 34 | 0% | 34 | EA | 0.4 | 13.6 | 80 | 1088 | 18 | 612 | 32 | 50 | 1700
17 |  |  | 220V Receptacle | 10 | 0% | 10 | EA | 0.6 | 6 | 80 | 480 | 35 | 350 | 48 | 83 | 830
Switch & Sensors
18 |  |  | 3-Way Switch | 8 | 0% | 8 | EA | 0.35 | 2.8 | 80 | 224 | 12 | 96 | 28 | 40 | 320
19 |  |  | Occupancy Sensor | 6 | 0% | 6 | EA | 0.5 | 3 | 80 | 240 | 45 | 270 | 40 | 85 | 510
20 |  |  | Single Pole Switch | 32 | 0% | 32 | EA | 0.3 | 9.6 | 80 | 768 | 6 | 192 | 24 | 30 | 960
21 |  |  | Automatic Transfer Switch | 1 | 0% | 1 | EA | 3 | 3 | 80 | 240 | 1450 | 1450 | 240 | 1690 | 1690
22 |  |  | Disconnect Switch For Condensing Unit (TBC) | 10 | 0% | 10 | EA | 1 | 10 | 80 | 800 | 95 | 950 | 80 | 175 | 1750
Panel
23 |  |  | A Panel - 225A | 1 | 0% | 1 | EA | 7 | 7 | 80 | 560 | 1250 | 1250 | 560 | 1810 | 1810
24 |  |  | B Panel - 225A | 1 | 0% | 1 | EA | 7 | 7 | 80 | 560 | 1250 | 1250 | 560 | 1810 | 1810
25 |  |  | C Panel - 225A | 1 | 0% | 1 | EA | 7 | 7 | 80 | 560 | 1250 | 1250 | 560 | 1810 | 1810
26 |  |  | D Panel - 150A | 1 | 0% | 1 | EA | 6 | 6 | 80 | 480 | 1020 | 1020 | 480 | 1500 | 1500
27 |  |  | E Panel - 150A | 1 | 0% | 1 | EA | 6 | 6 | 80 | 480 | 1020 | 1020 | 480 | 1500 | 1500
28 |  |  | F Panel - 150A | 1 | 0% | 1 | EA | 6 | 6 | 80 | 480 | 1020 | 1020 | 480 | 1500 | 1500
29 |  |  | G Panel - 150A | 1 | 0% | 1 | EA | 6 | 6 | 80 | 480 | 1020 | 1020 | 480 | 1500 | 1500
30 |  |  | H Panel - 150A | 1 | 0% | 1 | EA | 6 | 6 | 80 | 480 | 1020 | 1020 | 480 | 1500 | 1500
31 |  |  | HS Panel - 150A | 1 | 0% | 1 | EA | 6 | 6 | 80 | 480 | 1020 | 1020 | 480 | 1500 | 1500
Generator
32 |  |  | Natural Gad Generator. TBD KW | 1 | 0% | 1 | EA | 40 | 40 | 80 | 3200 | 14500 | 14500 | 3200 | 17700 | 17700
Transformer
33 |  |  | Transformer: Rectangle w/ Winding symbol | 1 | 0% | 1 | EA | 16 | 16 | 80 | 1280 | 6800 | 6800 | 1280 | 8080 | 8080
Meter Center
34 |  |  | Apartment Gang Meter Center: 1200A Main Breaker,3PH,208V Main Breaker,3PH & 1-PHout w/ 21-150A, 208/120V, 1PH,3 Wire Meters For Apartment Panel | 1 | 0% | 1 | EA | 55 | 55 | 80 | 4400 | 22000 | 22000 | 4400 | 26400 | 26400
Cable & Conduits
35 |  |  | 2 Cond. 18 AWG Addressable Data Circuit | 53.82 | 5% | 56.511 | LF | 0.02 | 1.1302 | 80 | 90.4176 | 1.2 | 67.8132 | 1.6 | 2.8 | 158.2308
36 |  |  | 2 Cond. 18 AWG Annunciator Data Cable | 9 | 5% | 9.45 | LF | 0.022 | 0.2079 | 80 | 16.632 | 1.35 | 12.7575 | 1.76 | 3.11 | 29.3895
37 |  |  | 2 Cond. 14 AWG Power Circuit Cable | 86 | 5% | 90.3 | LF | 0.03 | 2.709 | 80 | 216.72 | 2.4 | 216.72 | 2.4 | 4.8 | 433.44
38 |  |  | (4)4" Conduit w/ Pull String | 36.59 | 5% | 38.4195 | LF | 0.11 | 4.2261 | 80 | 338.0916 | 14.5 | 557.0828 | 8.8 | 23.3 | 895.1744
39 |  |  | 1 1/2" Conduit w/ (3)-1/0,#6 GND | 204.95 | 5% | 215.1975 | LF | 0.09 | 19.3678 | 80 | 1549.422 | 12.8 | 2754.528 | 7.2 | 20 | 4303.95
Allowance
40 |  |  | Allowance For Wiring (10084 SF) | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20000
|  |  | SUBTOTAL | [12 empty] | 112451.1847
[9 empty] | TOTAL LABOR COST |  | 24123.2832 | TOTAL MATERIAL COST | 68327.9015
|  |  | TOTAL AMOUNT | [12 empty] | 129451.1847
|  |  | OVERHEAD AND PROFIT (25%) | [7 empty] | 25% |  |  |  |  | 32362.7962
|  |  | TAX (0%) | [7 empty] | 0% |  |  |  |  | 0
|  |  | TOTAL BASEBID | [12 empty] | 161813.9808