## Detailed Estimate IE
PROJECT:
ADDRESS:
DATE
SR # | REF SHEET | CSI SECT | DESCRIPTION | QUANTITY | WASTAGE (10%) | QTY WITH WASTAGE | UNIT OF MEASUREMENT | UNIT COST | TOTAL ITEM COST | TOTAL TRADE COST
|  | DIV. 01 | GENERAL CONDITIONS | [6 empty] | 155000
1 |  |  | Permits Documentation And Fees Etc. | 1 | 0% | 1 | LS | 155000 | 155000
|  | DIV. 03 | CONCRETE | [6 empty] | 71976.52
| A2.0 |  | Concrete For Slab
2 |  |  | 1'-8" wide x 1'-0" Deep Thickened Concrete Slab Reinforced With (2) #5 Rebars, Continuous With 6x6 W.W.F. | 170 | 10% | 187 | SF | 7.8 | 1458.6
3 |  |  | 4" Concrete Slab On 6 Mil. Polyethylene Vapor Barrier With Minimum 16" x 20" Turned Down Edge With (2) #5 Reinforcing Bars | 2994 | 10% | 3293.4 | SF | 7.8 | 25688.52
| A2.0/A5.0 |  | Concrete For Footing
4 |  |  | Reinforced Concrete For 1'-4" wide x 1'-8" deep Footing | 2.22 | 10% | 2.442 | CY | 700 | 1709.4
5 |  |  | Reinforced Concrete For 1'-4" wide x 2'-0" deep Footing | 9 | 10% | 9.9 | CY | 700 | 6930
6 |  |  | Concrete For 2'-6" wide x 1'-0" deep Continuous Footing Reinforced With (3) #5 Bars And #5 Bars At 3'-6" O.C. Extending To Minimum 2'-0" Overlap With Reinforcing In CMU Wall | 22 | 10% | 24.2 | CY | 700 | 16940
7 |  |  | Concrete For 2'-8" wide x 1'-0" deep Pierced Brick Landscape Wall Footing | 3 | 10% | 3.3 | CY | 700 | 2310
| A2.0 |  | Concrete For Grade Beam
8 |  |  | Concrete For 3'-0" Wide x 1'-0" deep Grade Beam Footing Reinforced With (2) #5 Bars | 15 | 10% | 16.5 | CY | 700 | 11550
| A2.0 |  | Concrete For CMU Piers
9 |  |  | Concrete For 3'-0" wide x 1'-0" deep Masonry Pier Footing Reinforced With (3) #5 Bars | 7 | 10% | 7.7 | CY | 700 | 5390
|  | DIV. 04 | MASONRY | [6 empty] | 46015.2
Ground Floor
CMU Pier
10 | A2.1 |  | 12" x 12" CMU Pier With Horizontal Bed Reinforcing At 8" O.C. And (4 Total) #5 Reinforcing Bars With Dowels To Match( With 2'-0" Minimum Overlap From Footing To Top Of CMU Pier ) Fill All Cells | 180 | 10% | 198 | LF | 14.6 | 2890.8
Concrete Masonry Unit Wall
11 | A2.1 |  | 8" x 8" x 16" Block With Horizontal Bed Reinforcing At 8" O.C. And #5 Reinforcing Bars At 2'-8" O.C. With Dowels To Match( With 2'-0" Minimum Overlap From Footing To Top Of CMU Wall) Fill All Cells | 2420 | 10% | 2662 | SF | 16.2 | 43124.4
|  | DIV. 05 | METALS | [6 empty] | 19253.52
12 | A2.4 |  | Standing Seam Metal Roof | 1224 | 10% | 1346.4 | SF | 14.3 | 19253.52
|  | DIV. 06 | WOOD, PLASTIC AND COMPOSITES | [6 empty] | 164403.47
Wooden Posts
| A2.1 |  | Ground Floor
13 |  |  | 6" x 6" Pressure Treated Post With Wood Trim | 68 | 10% | 74.8 | LF | 18.6 | 1391.28
14 |  |  | 8" x 8" Pressure Treated Post With Wood Trim | 85 | 10% | 93.5 | LF | 23.5 | 2197.25
| A2.2 |  | First Floor
15 |  |  | 8" x 8" Pressure Treated Post With Wood Trim | 144 | 10% | 158.4 | LF | 23.5 | 3722.4
Structural Lumber
| A2.2 / A5.2 |  | First Floor
16 |  |  | 8 x Built-Up Wood Beam | 39 | 10% | 42.9 | LF | 23.5 | 1008.15
17 |  |  | 1 x 6 Pressure Treated Trim Band Each Side Of Beam | 39 | 10% | 42.9 | LF | 3.7 | 158.73
| A2.4 / A5.0 |  | Roof
18 |  |  | 1x4 Pressure Treated Band | 302 | 10% | 332.2 | LF | 2.9 | 963.38
19 |  |  | 1x8 Pressure Treated Band | 302 | 10% | 332.2 | LF | 4.5 | 1494.9
20 |  |  | 2x8 Pressure Treated Blocking | 302 | 10% | 332.2 | LF | 5.2 | 1727.44
21 | A3.1 / A5.2 |  | 6x12 Pressure Treated Beam | 31 | 10% | 34.1 | LF | 32.7 | 1115.07
Joists, Rafters and Trusses
Ground To First Floor
22 | A5.0 |  | Pressure Treated 1 x 4 Sleeper | 3371 | 10% | 3708.1 | SF | 3.4 | 12607.54
22 | A5.0 |  | 14" Pre Manufactured Truss Joist System @ 16" O.C. | 3548 | 10% | 3902.8 | SF | 7.8 | 30441.84
First To Second Floor
23 | A5.0 |  | 14" Open Web Wood Truss System @ 16" O.C. | 2247 | 10% | 2471.7 | SF | 7.8 | 19279.26
23 | A2.2 |  | 2x12 Pressure Treated Wood Joist System At 16" O.C. | 583 | 10% | 641.3 | SF | 7.2 | 4617.36
24 | A2.2 |  | 2x8's At 16" O.C. Ceiling Joists | 542 | 10% | 596.2 | SF | 4.7 | 2802.14
Plywood Decking
Ground To First Floor
25 | A5.0 |  | 3/4" Tongue And Groove Plywood Decking Glued And Nailed On Sleepers | 6919 | 10% | 7610.9 | SF | 3.4 | 25877.06
First To Second Floor
26 | A5.0 |  | 3/4" Tongue And Groove Plywood Decking Glued And Nailed On Engineered System | 2247 | 10% | 2471.7 | SF | 3.4 | 8403.78
26 | A2.2 |  | 5/4" x 6" Pressure Treated Wood Decking | 583 | 10% | 641.3 | SF | 5.7 | 3655.41
Roof Sheathing
27 | A2.4 / A5.0 |  | 5/8" Exterior Structural Roof Sheathing | 4663 | 10% | 5129.3 | SF | 3.6 | 18465.48
Millwork/Carpentry
| A2.2 |  | First Floor
28 |  |  | 2'-0" Deep Base Cabinets | 51 | 10% | 56.1 | LF | 350 | 19635
29 |  |  | 1'-0" Deep Top Cabinets | 12 | 10% | 13.2 | LF | 250 | 3300
Second Floor
30 |  |  | 2'-0" Deep Base Cabinets | 4 | 10% | 4.4 | LF | 350 | 1540
|  | DIV. 07 | THERMAL & MOISTURE PROTECTION | [6 empty] | 68072.75
Roof
31 | A2.4 / A5.0 |  | Asphalt Roof Shingles With Metal Accents | 3439 | 10% | 3782.9 | SF | 6.2 | 23453.98
32 |  |  | High Temperature Ice & Water Shield | 3439 | 10% | 3782.9 | SF | 5.6 | 21184.24
33 |  |  | Icynene Foam Insulation | 4663 | 10% | 5129.3 | SF | 3.5 | 17952.55
34 |  |  | Metal Flashing / Drip Edge | 302 | 10% | 332.2 | LF | 7.8 | 2591.16
35 |  |  | Non-Vented Hardie Soffit, Smooth | 453 | 10% | 498.3 | SF | 5.4 | 2690.82
36 |  |  | 2'-8" x 4'-6" Roof Crickets | 2 | 0% | 2 | EA | 100 | 200
|  | DIV. 08 | OPENINGS | [6 empty] | 101500
Doors
| A2.1 / A6.0 |  | Ground Floor
37 |  |  | 2'-4" wide x 8'-0" high x 1 3/4" thick Interior Door, Door Material: T.B.D, | 1 | 0% | 1 | EA | 1300 | 1300
38 |  |  | 3'-0" wide x 8'-0" high x 1 3/4" thick Interior Door, Door Material: T.B.D, | 3 | 0% | 3 | EA | 1400 | 4200
39 |  |  | 3'-0" wide x 8'-0" high x 1 3/4" thick Exterior Door, Door Material: T.B.D, ( Exterior Door System, Fiberglass Outswing Doors With Sidelite Muntins With Space Bar, Manufacturer: T.B.D, By General Contractor/ Owner) | 5 | 0% | 5 | EA | 1400 | 7000
40 |  |  | 9'-0" wide x 8'-0" high x 1 3/4" thick Exterior Garage Door, Door Material: T.B.D, ( Garage Door System Fiberglass, 3w/1H Sidelite, Manufacturer: T.B.D, By General Contractors/ Owner) | 2 | 0% | 2 | EA | 2600 | 5200
| A2.2 / A6.0 |  | First Floor
41 |  |  | 3'-0" wide x 8'-0" high x 1 3/4" thick Interior Door, Door Material: T.B.D, | 6 | 0% | 6 | EA | 1400 | 8400
42 |  |  | 2'-4" wide x 8'-0" high x 1 3/4" thick Interior Door, Door Material: T.B.D, | 5 | 0% | 5 | EA | 1300 | 6500
43 |  |  | 2'-0" wide x 8'-0" high x 1 3/4" thick Interior Door, Door Material: T.B.D, | 1 | 0% | 1 | EA | 1200 | 1200
44 |  |  | 2'-4" wide x 8'-0" high x 1 3/4" thick Interior Pocket Door, Door Material: T.B.D, | 3 | 0% | 3 | EA | 1300 | 3900
45 |  |  | 3'-0" wide x 8'-0" high x 1 3/4" thick Interior Pocket Door, Door Material: T.B.D, | 1 | 0% | 1 | EA | 1400 | 1400
46 |  |  | 4'-0" wide x 8'-0" high x 1 3/4" thick Interior Door, Door Material: T.B.D, | 2 | 0% | 2 | EA | 1600 | 3200
47 |  |  | 2'-8" wide x 8'-0" high x 1 3/4" thick Interior Door, Door Material: T.B.D, | 1 | 0% | 1 | EA | 1300 | 1300
48 |  |  | 6'-6" wide x 8'-0" high x 1 3/4" thick Exterior Door, Door Material: T.B.D, ( Exterior Door System, Fiberglass Outswing Door With Sidelite Muntins With Space Bar, Manufacturer: T.B.D) | 1 | 0% | 1 | EA | 2100 | 2100
49 |  |  | 3'-0" wide x 8'-0" high x 1 3/4" thick Exterior Door, Door Material: T.B.D, ( Exterior Door System, Fiberglass Outswing Door With Sidelite Muntins With Space Bar, Manufacturer: T.B.D) | 2 | 0% | 2 | EA | 1400 | 2800
50 |  |  | 12'-0" wide x 8'-0" high x 1 3/4" thick Exterior Door, Door Material: T.B.D, ( Exterior Sliding Door System, Fiberglass, Sliding Door With 2w/2h Sidelite, Manufacturer: T.B.D By General Contractors/ Owner) | 1 | 0% | 1 | EA | 3200 | 3200
51 |  |  | 8'-0" wide x 8'-0" high x 1 3/4" thick Exterior Door, Door Material: T.B.D, ( Exterior Sliding Door System, Fiberglass, Sliding Door With 2w/2h Sidelite, Manufacturer: T.B.D By General Contractors/ Owner) | 1 | 0% | 1 | EA | 2400 | 2400
| A2.3 / A6.0 |  | Second Floor
52 |  |  | 3'-0" wide x 8'-0" high x 1 3/4" thick Interior Door, Door Material: T.B.D, | 2 | 0% | 2 | EA | 1400 | 2800
53 |  |  | 2'-8" wide x 8'-0" high x 1 3/4" thick Interior Door, Door Material: T.B.D, | 2 | 0% | 2 | EA | 1300 | 2600
54 |  |  | 2'-0" wide x 8'-0" high x 1 3/4" thick Interior Door, Door Material: T.B.D, | 1 | 0% | 1 | EA | 1200 | 1200
55 |  |  | 5'-0" wide x 8'-0" high x 1 3/4" thick Interior Door, Door Material: T.B.D, | 1 | 0% | 1 | EA | 1600 | 1600
Windows
| A2.1 / A6.0 |  | Ground Floor
56 |  |  | 5'-4" wide x 5'-0" high Clad Double Hung Windows, Sidelite Muntins With Spacer Bar, Manufacturer: T.B.D, | 1 | 0% | 1 | EA | 2200 | 2200
57 |  |  | 2'-8" wide x 5'-0" high Clad Double Hung Windows, Sidelite Muntins With Spacer Bar, Manufacturer: T.B.D, | 4 | 0% | 4 | EA | 1100 | 4400
58 |  |  | 3'-0" wide x 2'-0" high Clad Casement ( Fixed) Windows, 2w/1h Sidelite, Manufacturer: T.B.D, | 1 | 0% | 1 | EA | 500 | 500
| A2.2 / A6.0 |  | First Floor
59 |  |  | 9'-0" wide x 6'-0" high Clad Double Hung Windows With Matching 2'-0" Transoms, Sidelite Muntins With Spacer Bar, Manufacturer: T.B.D, | 2 | 0% | 2 | EA | 4350 | 8700
60 |  |  | 6'-0" wide x 6'-0" high Clad Double Hung Windows, Sidelite Muntins With Spacer Bar, Manufacturer: T.B.D, | 2 | 0% | 2 | EA | 2900 | 5800
61 |  |  | 2'-8" wide x 5'-0" high Clad Double Hung Windows, Sidelite Muntins With Spacer Bar, Manufacturer: T.B.D, | 4 | 0% | 4 | EA | 1100 | 4400
62 |  |  | 6'-0" wide x 2'-0" high Clad Casement ( Fixed) Windows, 2w/1h Sidelite, Manufacturer: T.B.D, | 2 | 0% | 2 | EA | 1000 | 2000
63 |  |  | 3'-0" wide x 2'-0" high Clad Casement ( Fixed) Windows, 2w/1h Sidelite, Manufacturer: T.B.D, | 2 | 0% | 2 | EA | 500 | 1000
64 |  |  | 2'-0" wide x 3'-6" high Clad Casement ( Fixed) Windows, 2w/1h Sidelite, Manufacturer: T.B.D, | 4 | 0% | 4 | EA | 575 | 2300
| A2.3/ A6.0 |  | Second Floor
65 |  |  | 9'-0" wide x 5'-6" high Clad Double Hung Windows With Matching 2'-0" Transoms, Sidelite Muntins With Spacer Bar, Manufacturer: T.B.D, | 1 | 0% | 1 | EA | 4000 | 4000
66 |  |  | 6'-0" wide x 4'-0" high Clad Casement ( Fixed) Windows, Sidelite Muntins With Spacer Bar, Manufacturer: T.B.D, | 2 | 0% | 2 | EA | 1950 | 3900
|  | DIV. 09 | FINISHES | [6 empty] | 379337.528
Dry Walls
| A2.1 |  | Ground Floor
4" Interior Walls
67 |  |  | 1 Layer Of 5/8" Gypsum Wall Board On Each Side | 101 | 10% | 111.1 | SF | 2.6 | 288.86
68 |  |  | No Of Sheets | 3 | 0% | 3 | EA |  | 0
69 |  |  | Drywall Screws | 144 | 0% | 144 | EA |  | 0
70 |  |  | Tape Joint (500' Roll) | 42 | 0% | 42 | LF |  | 0
71 |  |  | 2 x 4 Wood Studs @ 16" O.C. | 39 | 10% | 42.9 | LF | 3.4 | 145.86
72 |  |  | Batt Insulation | 50 | 10% | 55 | SF | 3.1 | 170.5
73 |  |  | 2x4 Pressure Treated Top Plates With 5/8" Anchor Bolts | 12 | 10% | 13.2 | LF | 3.4 | 44.88
74 |  |  | 2x4 Pressure Treated Bottom Plates With 5/8" Anchor Bolts | 6 | 10% | 6.6 | LF | 3.4 | 22.44
75 |  |  | 1/2" Sealant | 24 | 10% | 26.4 | LF | 1.2 | 31.68
76 |  |  | 2 x 4 Blocking | 6 | 10% | 6.6 | LF | 3.4 | 22.44
6" Interior Walls
77 |  |  | 1 Layer Of 5/8" Gypsum Wall Board On Each Side | 1024 | 10% | 1126.4 | SF | 2.6 | 2928.64
78 |  |  | No Of Sheets | 32 | 0% | 32 | EA |  | 0
79 |  |  | Drywall Screws | 1536 | 0% | 1536 | EA |  | 0
80 |  |  | Tape Joint (500' Roll) | 448 | 0% | 448 | LF |  | 0
81 |  |  | 2 x 6 Wood Studs @ 16" O.C. | 771 | 10% | 848.1 | LF | 4.6 | 3901.26
82 |  |  | Batt Insulation | 1024 | 10% | 1126.4 | SF | 3.1 | 3491.84
83 |  |  | 2x6 Pressure Treated Top Plates With 5/8" Anchor Bolts | 230 | 10% | 253 | LF | 4.6 | 1163.8
84 |  |  | 2x6 Pressure Treated Bottom Plates With 5/8" Anchor Bolts | 115 | 10% | 126.5 | LF | 4.6 | 581.9
85 |  |  | 1/2" Sealant | 460 | 10% | 506 | LF | 1.2 | 607.2
86 |  |  | 2 x 6 Blocking | 115 | 10% | 126.5 | LF | 4.6 | 581.9
8" Interior Walls
87 |  |  | 1 Layer Of 5/8" Gypsum Wall Board On Each Side | 86 | 10% | 94.6 | SF | 2.6 | 245.96
88 |  |  | No Of Sheets | 3 | 0% | 3 | EA |  | 0
89 |  |  | Drywall Screws | 144 | 0% | 144 | EA |  | 0
90 |  |  | Tape Joint (500' Roll) | 42 | 0% | 42 | LF |  | 0
91 |  |  | 2 x 8 Wood Studs @ 16" O.C. | 33 | 10% | 36.3 | LF | 5.8 | 210.54
92 |  |  | Batt Insulation | 43 | 10% | 47.3 | SF | 3.1 | 146.63
93 |  |  | 2x8 Pressure Treated Top Plates With 5/8" Anchor Bolts | 5 | 10% | 5.5 | LF | 5.8 | 31.9
94 |  |  | 2x8 Pressure Treated Bottom Plates With 5/8" Anchor Bolts | 10 | 10% | 11 | LF | 5.8 | 63.8
95 |  |  | 1/2" Sealant | 20 | 10% | 22 | LF | 1.2 | 26.4
96 |  |  | 2 x 8 Blocking | 5 | 10% | 5.5 | LF | 5.8 | 31.9
| A2.2 |  | First Floor
6" Exterior Wall
97 |  |  | 1 Layer Of 5/8" Gypsum Wall Board On One Side | 2217 | 10% | 2438.7 | SF | 2.6 | 6340.62
98 |  |  | No Of Sheets | 69 | 0% | 69 | EA |  | 0
99 |  |  | Drywall Screws | 3312 | 0% | 3312 | EA |  | 0
100 |  |  | Tape Joint (500' Roll) | 966 | 0% | 966 | LF |  | 0
101 |  |  | 1/2" Plywood Sheathing | 2217 | 10% | 2438.7 | SF | 3.4 | 8291.58
102 |  |  | 2x6 Wood Studs @ 16" O.C. | 1668 | 10% | 1834.8 | LF | 4.6 | 8440.08
103 |  |  | 5-1/2" Sound Attenuation Batt Insulation | 2217 | 10% | 2438.7 | SF | 3.5 | 8535.45
104 |  |  | 2x6 Pressure Treated Top Plates With 5/8" Anchor Bolts | 444 | 10% | 488.4 | LF | 4.6 | 2246.64
105 |  |  | 2x6 Pressure Treated Bottom Plates With 5/8" Anchor Bolts | 222 | 10% | 244.2 | LF | 4.6 | 1123.32
106 |  |  | 1/2" Sealant | 888 | 10% | 976.8 | LF | 1.2 | 1172.16
107 |  |  | 2 x 6 Blocking | 222 | 10% | 244.2 | LF | 4.6 | 1123.32
4" Interior Walls
108 |  |  | 1 Layer Of 5/8" Gypsum Wall Board On Each Side | 3374 | 10% | 3711.4 | SF | 2.6 | 9649.64
109 |  |  | No Of Sheets | 106 | 0% | 106 | EA |  | 0
110 |  |  | Drywall Screws | 5088 | 0% | 5088 | EA |  | 0
111 |  |  | Tape Joint (500' Roll) | 1484 | 0% | 1484 | LF |  | 0
112 |  |  | 2 x 4 Wood Studs @ 16" O.C. | 1270 | 10% | 1397 | LF | 3.4 | 4749.8
113 |  |  | Batt Insulation | 1687 | 10% | 1855.7 | SF | 3.1 | 5752.67
114 |  |  | 2x4 Pressure Treated Top Plates With 5/8" Anchor Bolts | 338 | 10% | 371.8 | LF | 3.4 | 1264.12
115 |  |  | 2x4 Pressure Treated Bottom Plates With 5/8" Anchor Bolts | 169 | 10% | 185.9 | LF | 3.4 | 632.06
116 |  |  | 1/2" Sealant | 676 | 10% | 743.6 | LF | 1.2 | 892.32
117 |  |  | 2 x 4 Blocking | 169 | 10% | 185.9 | LF | 3.4 | 632.06
6" Interior Walls
118 |  |  | 1 Layer Of 5/8" Gypsum Wall Board On Each Side | 3212 | 10% | 3533.2 | SF | 2.6 | 9186.32
119 |  |  | No Of Sheets | 101 | 0% | 101 | EA |  | 0
120 |  |  | Drywall Screws | 4848 | 0% | 4848 | EA |  | 0
121 |  |  | Tape Joint (500' Roll) | 1414 | 0% | 1414 | LF |  | 0
122 |  |  | 2 x 6 Wood Studs @ 16" O.C. | 1209 | 10% | 1329.9 | LF | 4.6 | 6117.54
123 |  |  | Batt Insulation | 1606 | 10% | 1766.6 | SF | 3.1 | 5476.46
124 |  |  | 2x6 Pressure Treated Top Plates With 5/8" Anchor Bolts | 322 | 10% | 354.2 | LF | 4.6 | 1629.32
125 |  |  | 2x6 Pressure Treated Bottom Plates With 5/8" Anchor Bolts | 161 | 10% | 177.1 | LF | 4.6 | 814.66
126 |  |  | 1/2" Sealant | 644 | 10% | 708.4 | LF | 1.2 | 850.08
127 |  |  | 2 x 6 Blocking | 161 | 10% | 177.1 | LF | 4.6 | 814.66
| A2.3 |  | Second Floor
6" Exterior Wall
128 |  |  | 1 Layer Of 5/8" Gypsum Wall Board On One Side | 1247 | 10% | 1371.7 | SF | 2.6 | 3566.42
129 |  |  | No Of Sheets | 39 | 0% | 39 | EA |  | 0
130 |  |  | Drywall Screws | 1872 | 0% | 1872 | EA |  | 0
131 |  |  | Tape Joint (500' Roll) | 546 | 0% | 546 | LF |  | 0
132 |  |  | 1/2" Plywood Sheathing | 1247 | 10% | 1371.7 | SF | 3.4 | 4663.78
133 |  |  | 2x6 Wood Studs @ 16" O.C. | 939 | 10% | 1032.9 | LF | 4.6 | 4751.34
134 |  |  | 5-1/2" Sound Attenuation Batt Insulation | 1247 | 10% | 1371.7 | SF | 3.5 | 4800.95
135 |  |  | 2x6 Pressure Treated Top Plates With 5/8" Anchor Bolts | 278 | 10% | 305.8 | LF | 4.6 | 1406.68
136 |  |  | 2x6 Pressure Treated Bottom Plates With 5/8" Anchor Bolts | 139 | 10% | 152.9 | LF | 4.6 | 703.34
137 |  |  | 1/2" Sealant | 556 | 10% | 611.6 | LF | 1.2 | 733.92
138 |  |  | 2 x 6 Blocking | 139 | 10% | 152.9 | LF | 4.6 | 703.34
4" Interior Walls
139 |  |  | 1 Layer Of 5/8" Gypsum Wall Board On Each Side | 292 | 10% | 321.2 | SF | 2.6 | 835.12
140 |  |  | No Of Sheets | 9 | 0% | 9 | EA |  | 0
141 |  |  | Drywall Screws | 432 | 0% | 432 | EA |  | 0
142 |  |  | Tape Joint (500' Roll) | 126 | 0% | 126 | LF |  | 0
143 |  |  | 2 x 4 Wood Studs @ 16" O.C. | 110 | 10% | 121 | LF | 3.4 | 411.4
144 |  |  | Batt Insulation | 146 | 10% | 160.6 | SF | 3.1 | 497.86
145 |  |  | 2x4 Pressure Treated Top Plates With 5/8" Anchor Bolts | 34 | 10% | 37.4 | LF | 3.4 | 127.16
146 |  |  | 2x4 Pressure Treated Bottom Plates With 5/8" Anchor Bolts | 12 | 10% | 13.2 | LF | 3.4 | 44.88
147 |  |  | 1/2" Sealant | 48 | 10% | 52.8 | LF | 1.2 | 63.36
148 |  |  | 2 x 4 Blocking | 12 | 10% | 13.2 | LF | 3.4 | 44.88
6" Interior Walls
149 |  |  | 1 Layer Of 5/8" Gypsum Wall Board On Each Side | 1104 | 10% | 1214.4 | SF | 2.6 | 3157.44
150 |  |  | No Of Sheets | 35 | 0% | 35 | EA |  | 0
151 |  |  | Drywall Screws | 1680 | 0% | 1680 | EA |  | 0
152 |  |  | Tape Joint (500' Roll) | 490 | 0% | 490 | LF |  | 0
153 |  |  | 2 x 6 Wood Studs @ 16" O.C. | 415 | 10% | 456.5 | LF | 4.6 | 2099.9
154 |  |  | Batt Insulation | 552 | 10% | 607.2 | SF | 3.1 | 1882.32
155 |  |  | 2x6 Pressure Treated Top Plates With 5/8" Anchor Bolts | 124 | 10% | 136.4 | LF | 4.6 | 627.44
156 |  |  | 2x6 Pressure Treated Bottom Plates With 5/8" Anchor Bolts | 62 | 10% | 68.2 | LF | 4.6 | 313.72
157 |  |  | 1/2" Sealant | 248 | 10% | 272.8 | LF | 1.2 | 327.36
158 |  |  | 2 x 6 Blocking | 62 | 10% | 68.2 | LF | 4.6 | 313.72
|  |  | Floor Finishes | [5 empty] | 0
| A2.1 |  | Ground Floor
159 |  |  | Ceramic Tile Flooring | 130 | 10% | 143 | SF | 8.9 | 1272.7
159 |  |  | Vinyl Tile Flooring | 473 | 10% | 520.3 | SF | 7.5 | 3902.25
| A2.2 |  | First Floor
160 |  |  | Ceramic Tile Flooring | 361 | 10% | 397.1 | SF | 8.9 | 3534.19
160 |  |  | Deck Tile Flooring | 390 | 10% | 429 | SF | 8.5 | 3646.5
161 |  |  | Tile Flooring | 180 | 10% | 198 | SF | 8.5 | 1683
161 |  |  | Vinyl Tile Flooring | 941 | 10% | 1035.1 | SF | 7.5 | 7763.25
162 |  |  | Wood Flooring | 1284 | 10% | 1412.4 | SF | 9.7 | 13700.28
| A2.3 |  | Second Floor
163 |  |  | Vinyl Tile Flooring | 246 | 10% | 270.6 | SF | 7.5 | 2029.5
163 |  |  | Wood Flooring | 285 | 10% | 313.5 | SF | 9.7 | 3040.95
164 |  |  | Ceramic Tile Flooring | 82 | 10% | 90.2 | SF | 8.9 | 802.78
Ceiling Materials
| A2.1 |  | Ground Floor
165 |  |  | 5/8" Gypsum Board Ceiling | 3336 | 10% | 3669.6 | SF | 3.7 | 13577.52
| A2.2 |  | First Floor
166 |  |  | 5/8" Gypsum Board Ceiling | 2103 | 10% | 2313.3 | SF | 3.7 | 8559.21
167 |  |  | Coffered Ceiling | 409 | 10% | 449.9 | SF | 5.8 | 2609.42
168 |  |  | Vaulted Ceiling | 542 | 10% | 596.2 | SF | 5.4 | 3219.48
| A2.3 |  | Second Floor
169 |  |  | 5/8" Gypsum Board Ceiling | 605 | 10% | 665.5 | SF | 3.7 | 2462.35
Ceiling Finishes
| A2.1 |  | Ground Floor
170 |  |  | Paint On 5/8" Gypsum Board Ceiling | 3336 | 10% | 3669.6 | SF | 2.1 | 7706.16
| A2.2 |  | First Floor
171 |  |  | Paint On 5/8" Gypsum Board Ceiling | 2103 | 10% | 2313.3 | SF | 2.1 | 4857.93
| A2.3 |  | Second Floor
172 |  |  | Paint On 5/8" Gypsum Board Ceiling | 605 | 10% | 665.5 | SF | 2.1 | 1397.55
Wall Finishes
| A2.1 |  | Ground Floor
173 |  |  | Paint On Walls (1 Coat Of Primer + 2 Coat Of Paint Finish) | 3832 | 10% | 4215.2 | SF | 1.6 | 6744.32
| A2.2 |  | First Floor
174 |  |  | Paint On Walls (1 Coat Of Primer + 2 Coat Of Paint Finish) | 7458 | 10% | 8203.8 | SF | 1.6 | 13126.08
175 |  |  | Tile On Wall | 985 | 10% | 1083.5 | SF | 9.8 | 10618.3
| A2.3 |  | Second Floor
176 |  |  | Paint On Walls (1 Coat Of Primer + 2 Coat Of Paint Finish) | 2159 | 10% | 2374.9 | SF | 1.6 | 3799.84
177 |  |  | Tile On Wall | 238 | 10% | 261.8 | SF | 9.8 | 2565.64
Column Finishes
| A2.1 |  | Ground Floor
178 |  |  | Stucco On Columns | 840 | 10% | 924 | SF | 13.2 | 12196.8
| A2.2 |  | First Floor
179 |  |  | Stucco On Columns | 337 | 10% | 370.7 | SF | 13.2 | 4893.24
Base, Crown and Trim
| A2.1 |  | Ground Floor
180 |  |  | 4" Vinyl Tile Base | 142.21 | 10% | 156.431 | LF | 4.5 | 703.9395
| A2.2 |  | First Floor
181 |  |  | 4" Tile Base | 24.23 | 10% | 26.653 | LF | 4.5 | 119.9385
182 |  |  | 4" Vinyl Tile Base | 244.66 | 10% | 269.126 | LF | 4.5 | 1211.067
183 |  |  | 4" Wood Base | 268.38 | 10% | 295.218 | LF | 4.5 | 1328.481
| A2.3 |  | Second Floor
184 |  |  | 4" Vinyl Tile Base | 119.32 | 10% | 131.252 | LF | 4.5 | 590.634
185 |  |  | 4" Wood Base | 71.64 | 10% | 78.804 | LF | 4.5 | 354.618
Exterior Finishes
186 | A3.0 / A3.1 |  | 3/4" Stucco Finish | 4957 | 10% | 5452.7 | SF | 13.2 | 71975.64
187 |  |  | 1'-0" x 3'-4" Operable Wood Shutters With Hardware | 8 | 0% | 8 | EA | 250 | 2000
188 |  |  | 1'-4" x 4'-9" Operable Wood Shutters With Hardware | 12 | 0% | 12 | EA | 400 | 4800
189 |  |  | 2x6 Wood Corner Board | 81 | 10% | 89.1 | LF | 4.7 | 418.77
190 |  |  | 7" Hardie Smooth Lap Siding | 1920 | 10% | 2112 | SF | 5.6 | 11827.2
191 |  |  | Louvered Panels - Service Yard | 82 | 10% | 90.2 | SF | 15 | 1353
192 |  |  | Nucedar Shingles ( 7" Exposure, Straight Coursing) | 770 | 10% | 847 | SF | 6.7 | 5674.9
193 |  |  | Wood Service Yard Fence | 262 | 10% | 288.2 | SF | 12.8 | 3688.96
194 |  |  | 6 x6 Pressure Treated Post With 2x8 Pressure Treated Cap-Chamfer Top & 1x4 Pressure Treated Trim | 48 | 10% | 52.8 | LF | 19.5 | 1029.6
|  | DIV. 10 | SPECIALTIES | [6 empty] | 227229.65
| A5.2/ A3.1 |  | Exterior Stairs
195 |  |  | 1'-0" Tread, 6" Risers Wood Stair | 19 | 0% | 19 | RISERS | 240 | 4560
196 |  |  | 6x6 Pressure Treated Post With 2xCap & 1x Base Trim | 48 | 10% | 52.8 | LF | 19.5 | 1029.6
197 |  |  | 1x1 Pressure Treated Bottom Rail | 69 | 10% | 75.9 | LF | 19.5 | 1480.05
198 |  |  | 2'-9" High Hand Railing ( Powder - Coated Threaded Rod) | 69 | 10% | 75.9 | LF | 45 | 3415.5
Interior Stairs
199 |  |  | 1'-0" Tread, 6" Risers Wood Stair | 34 | 0% | 34 | RISERS | 240 | 8160
200 |  |  | 3'-0" High Hand Railing | 31 | 10% | 34.1 | LF | 45 | 1534.5
201 | A2.2 |  | Hearth With Chimney By General Contractor/ Owner | 2 | 0% | 2 | EA | 200 | 400
202 |  |  | Elevator With Two Floor Openings | 1 | 0% | 1 | EA | 200000 | 200000
Toilet Accessories
| A2.1 |  | Ground Floor
203 |  |  | Towel Bar | 1 | 0% | 1 | EA | 120 | 120
| A2.2 |  | First Floor
204 |  |  | Grab Bars | 4 | 0% | 4 | EA | 120 | 480
205 |  |  | Toilet Paper Holders | 4 | 0% | 4 | EA | 200 | 800
206 |  |  | Soap Dispenser | 5 | 0% | 5 | EA | 200 | 1000
207 |  |  | Towel Bar | 3 | 0% | 3 | EA | 120 | 360
208 |  |  | Hand Dryer | 4 | 0% | 4 | EA | 650 | 2600
| A2.3 |  | Second Floor
209 |  |  | Grab Bars | 1 | 0% | 1 | EA | 120 | 120
210 |  |  | Toilet Paper Holders | 1 | 0% | 1 | EA | 200 | 200
211 |  |  | Soap Dispenser | 1 | 0% | 1 | EA | 200 | 200
212 |  |  | Towel Bar | 1 | 0% | 1 | EA | 120 | 120
213 |  |  | Hand Dryer | 1 | 0% | 1 | EA | 650 | 650
|  | DIV. 11 | EQUIPMENT'S | [6 empty] | 3600
214 | A2.2 |  | Dishwasher | 1 | 0% | 1 | EA | 900 | 900
215 |  |  | Stove | 1 | 0% | 1 | EA | 1800 | 1800
216 |  |  | Washer And Dryer | 1 | 0% | 1 | EA | 900 | 900
|  | DIV. 12 | FURNISHING | [6 empty] | 25739.45
Backsplash
217 | A2.2 |  | 6" Backsplash | 11 | 10% | 12.1 | LF | 14.5 | 175.45
Countertops
| A2.2 |  | First Floor
218 |  |  | Granite Countertops | 158 | 10% | 173.8 | SF | 140 | 24332
| A2.3 |  | Second Floor
219 |  |  | Granite Countertops | 8 | 10% | 8.8 | SF | 140 | 1232
|  | DIV. 22 | PLUMBING | [6 empty] | 48550
Fixtures
| A2.1 |  | Ground Floor
220 |  |  | Shower Head | 1 | 0% | 1 | EA | 800 | 800
221 |  |  | Floor Drain | 1 | 0% | 1 | EA | 850 | 850
222 |  |  | Allowance for fittings, valves & misc. items | 1 | 0% | 1 | LS | 22500 | 22500
| A2.2 |  | First Floor
223 |  |  | Water Closet , Tank Floor Mount | 4 | 0% | 4 | EA | 900 | 3600
224 |  |  | Bathtub | 1 | 0% | 1 | EA | 2600 | 2600
225 |  |  | Zero Entry Shower | 2 | 0% | 2 | EA | 1600 | 3200
226 |  |  | Lavatories | 5 | 0% | 5 | EA | 800 | 4000
227 |  |  | Lavatory Faucets | 5 | 0% | 5 | EA | 400 | 2000
228 |  |  | Double Kitchen Sink | 1 | 0% | 1 | EA | 1200 | 1200
229 |  |  | Sink | 1 | 0% | 1 | EA | 1000 | 1000
230 |  |  | Sink Faucets | 2 | 0% | 2 | EA | 300 | 600
231 |  |  | Floor Drain | 2 | 0% | 2 | EA | 750 | 1500
| A2.3 |  | Second Floor
232 |  |  | Water Closet , Tank Floor Mount | 1 | 0% | 1 | EA | 900 | 900
233 |  |  | Bathtub | 1 | 0% | 1 | EA | 2600 | 2600
234 |  |  | Lavatories | 1 | 0% | 1 | EA | 800 | 800
235 |  |  | Lavatory Faucets | 1 | 0% | 1 | EA | 400 | 400
|  | DIV. 23 | MECHANICAL | [6 empty] | 3900
Fixtures
236 | E2.2/ E2.3 |  | Exhaust Fan | 6 | 0% | 6 | EA | 650 | 3900
|  | DIV. 26 | ELECTRICAL | [6 empty] | 152320
Fixtures
| E2.1 |  | Ground Floor
237 |  |  | 3 Way Switch | 6 | 0% | 6 | EA | 240 | 1440
238 |  |  | Carbon Monoxide Detectors | 1 | 0% | 1 | EA | 300 | 300
239 |  |  | Ceiling Fan | 1 | 0% | 1 | EA | 850 | 850
240 |  |  | Single Pole Switch | 7 | 0% | 7 | EA | 240 | 1680
241 |  |  | Smoke Detectors | 1 | 0% | 1 | EA | 300 | 300
242 |  |  | Waterproof Ground Fault Circuit Interrupter Duplex Receptacle | 8 | 0% | 8 | EA | 280 | 2240
| E2.2 |  | First Floor
243 |  |  | 220 Volt Outlet | 2 | 0% | 2 | EA | 240 | 480
244 |  |  | 3 Way Dimmer Switch | 2 | 0% | 2 | EA | 240 | 480
245 |  |  | 3 Way Switch | 8 | 0% | 8 | EA | 240 | 1920
246 |  |  | Carbon Monoxide Detectors | 3 | 0% | 3 | EA | 300 | 900
247 |  |  | Ceiling Fan | 6 | 0% | 6 | EA | 850 | 5100
248 |  |  | Circuit Panel Box | 1 | 0% | 1 | EA | 2500 | 2500
249 |  |  | Countertop Level Ground Fault Circuit Interrupter Duplex Receptacle | 9 | 0% | 9 | EA | 280 | 2520
250 |  |  | Dimmer Switch | 3 | 0% | 3 | EA | 240 | 720
251 |  |  | Duplex Receptacle | 17 | 0% | 17 | EA | 240 | 4080
252 |  |  | Floor Mounted Receptacle | 2 | 0% | 2 | EA | 240 | 480
253 |  |  | Junction Box | 3 | 0% | 3 | EA | 260 | 780
254 |  |  | Single Pole Switch | 42 | 0% | 42 | EA | 240 | 10080
255 |  |  | Smoke Detectors | 5 | 0% | 5 | EA | 300 | 1500
256 |  |  | Switched Duplex Receptacle | 6 | 0% | 6 | EA | 240 | 1440
257 |  |  | TV/Cable Jack | 2 | 0% | 2 | EA | 240 | 480
258 |  |  | Waterproof Ground Fault Circuit Interrupter Duplex Receptacle | 3 | 0% | 3 | EA | 280 | 840
| E2.3 |  | Second Floor
259 |  |  | 3 Way Switch | 3 | 0% | 3 | EA | 240 | 720
260 |  |  | Carbon Monoxide Detectors | 1 | 0% | 1 | EA | 240 | 240
261 |  |  | Ceiling Fan | 1 | 0% | 1 | EA | 850 | 850
262 |  |  | Countertop Level Ground Fault Circuit Interrupter Duplex Receptacle | 1 | 0% | 1 | EA | 280 | 280
263 |  |  | Dimmer Switch | 1 | 0% | 1 | EA | 240 | 240
264 |  |  | Duplex Receptacle | 5 | 0% | 5 | EA | 240 | 1200
265 |  |  | Single Pole Switch | 7 | 0% | 7 | EA | 240 | 1680
266 |  |  | Smoke Detectors | 1 | 0% | 1 | EA | 300 | 300
267 |  |  | Switch With Indicator Light | 1 | 0% | 1 | EA | 240 | 240
268 |  |  | Switched Duplex Receptacle | 2 | 0% | 2 | EA | 240 | 480
269 |  |  | Allowance for wiring & conduits | 1 | 0% | 1 | LS | 45000 | 45000
Lighting Fixtures
| E2.1 |  | Ground Floor
270 |  |  | 2 x 4 Fluorescent Light Fixtures | 7 | 0% | 7 | EA | 400 | 2800
271 |  |  | Recessed Can Lighting Fixtures | 31 | 0% | 31 | EA | 360 | 11160
272 |  |  | Recessed Sealed Shower Light Fixtures | 1 | 0% | 1 | EA | 360 | 360
273 |  |  | Wall Mounted Sconce Light Fixtures | 1 | 0% | 1 | EA | 380 | 380
| E2.2 |  | First Floor
274 |  |  | Ceiling Mounted Strip Fluorescent Light Fixtures | 3 | 0% | 3 | EA | 360 | 1080
275 |  |  | Pendant Light Fixtures | 3 | 0% | 3 | EA | 360 | 1080
276 |  |  | Recessed Can Lighting Fixtures | 79 | 0% | 79 | EA | 360 | 28440
277 |  |  | Recessed Sealed Shower Light Fixtures | 3 | 0% | 3 | EA | 360 | 1080
278 |  |  | Under Cabinet Light Fixtures | 4 | 0% | 4 | EA | 340 | 1360
279 |  |  | Wall Mounted Sconce Light Fixtures | 10 | 0% | 10 | EA | 360 | 3600
| E2.3 |  | Second Floor
280 |  |  | Ceiling Mounted Strip Fluorescent Light Fixtures | 1 | 0% | 1 | EA | 360 | 360
281 |  |  | Recessed Can Lighting Fixtures | 20 | 0% | 20 | EA | 360 | 7200
282 |  |  | Recessed Sealed Shower Fixtures | 1 | 0% | 1 | EA | 360 | 360
283 |  |  | Wall Mounted Sconce Fixtures | 2 | 0% | 2 | EA | 360 | 720
|  | DIV. 32 | Exterior Improvements | [6 empty] | 203241.3927
L1.1 / A1.0
284 |  |  | 3'-0" High Feeney Design Rail Powder Coated Aluminum Handrail | 36.28 | 10% | 39.908 | LF | 40 | 1596.32
285 |  |  | 6'-0" High Silt Fence | 469.17 | 10% | 516.087 | LF | 11.2 | 5780.1744
286 |  |  | Brick Stoops, 12" Treads, 6" Risers | 159 | 10% | 174.9 | SF | 24 | 4197.6
287 |  |  | Retaining Wall | 473 | 10% | 520.3 | SF | 15.6 | 8116.68
288 |  |  | 5'-0" High Fence Framed With 2x4's And Orange Protection Material | 318.85 | 10% | 350.735 | LF | 14.5 | 5085.6575
289 |  |  | Transformer | 1 | 0% | 1 | EA | 2200 | 2200
290 |  |  | 10 KW Generator | 1 | 0% | 1 | EA | 14000 | 14000
291 |  |  | 12" NDS Catch Basin | 2 | 0% | 2 | EA | 1800 | 3600
292 |  |  | Brick Border With Oyster Shell Concrete Paving | 2893 | 10% | 3182.3 | SF | 14.5 | 46143.35
293 |  |  | 4" NDS Drain Pipe | 56.34 | 10% | 61.974 | LF | 32.5 | 2014.155
294 |  |  | 6" NDS Drain Pipe | 350.34 | 10% | 385.374 | LF | 46.7 | 17996.9658
295 |  |  | Dry Lay Stone Paving | 488 | 10% | 536.8 | SF | 21.3 | 11433.84
296 |  |  | Gravel Walk Or Drive With Steel Edge | 380 | 10% | 418 | SF | 2.3 | 961.4
297 |  |  | Electric Box | 1 | 0% | 1 | EA | 1500 | 1500
298 |  |  | Heat Pump | 2 | 0% | 2 | EA | 800 | 1600
299 |  |  | Steel Fire Pit With Gravel / Oyster Shell Surround | 1 | 0% | 1 | EA | 3500 | 3500
Landscape
300 | L4.1 |  | Sabp, Common Name: Cabbage Palmetto Sabal Palmetto, Cal: N/A, Cont: Bare Root, Height/Spread: 12-15` H | 4 | 0% | 4 | EA | 850 | 3400
301 |  |  | Lagn, Common Name: Crape Myrtle Lagerstroemia X `Natchez`, Cal: 30 Gal,Height/Spread: 8-10` | 2 | 0% | 2 | EA | 700 | 1400
302 |  |  | Cerf, Common Name: Forest Pansy Redbud Cercis Canadensis `Forest Pansy` Tm, Cal: 2"Cal, Cont: 30 Gal, Height/Spread: 8-10` | 1 | 0% | 1 | EA | 700 | 700
303 |  |  | Quev, Common Name: Southern Live Oak Quercus Virginiana, Cal: 6"Cal, Cont: B&B, Height/Spread: 12-15` H | 1 | 0% | 1 | EA | 800 | 800
304 |  |  | Shrubs Illp, Common Name: Anise Tree Illicium Parviflorum, Cont: 7 Gal, Height/Spread: 30-36" | 23 | 0% | 23 | EA | 40 | 920
305 |  |  | Viba, Common Name: Arrowwood Viburnum Viburnum Dentatum `Arrowwood`, Cont: 7 Gal, Height/Spread: 30-36" | 1 | 0% | 1 | EA | 75 | 75
306 |  |  | Panm, Common Name: Blue Switch Grass Panicum Virgatum `Heavy Metal`, Cont: 3 Gal, Height/Spread: 12-15" | 25 | 0% | 25 | EA | 45 | 1125
307 |  |  | Ileb, Common Name: Dwarf Burford Holly Ilex Cornuta `Burfordii Nana`, Cont: 15 Gal, Height/Spread: 3-4' | 2 | 0% | 2 | EA | 75 | 150
308 |  |  | Gard, Common Name: Dwarf Gardenia Gardenia Radicans, Cont: 3 Gal, Height/Spread: 12-15" | 20 | 0% | 20 | EA | 40 | 800
309 |  |  | Podp, Common Name: Dwarf Podocarpus Podocarpus Macrophyllus `Dwarf Pringles`, Cont: 7 Gal, Height/Spread: 24-30" | 12 | 0% | 12 | EA | 40 | 480
310 |  |  | Hamc, Common Name: Dwarf Scarlet Bush Hamelia Patens `Compacta`, Cont: 3 Gal, Height/Spread: 15-18" | 10 | 0% | 10 | EA | 50 | 500
311 |  |  | Diat, Common Name: Flax Lily Dianella Tasmanica, Cont: 3 Gal, Height/Spread: 10-12" | 50 | 0% | 50 | EA | 25 | 1250
312 |  |  | Azaf Common Name: Formosa Azalea Azalea Indica, Cont: 7 Gal, Height/Spread: 30-36" | 8 | 0% | 8 | EA | 40 | 320
313 |  |  | Hydd, Common Name: French Hydrangea Hydrangea Macrophylla `Dooley`, Cont: 7 Gal, Height/Spread: 24-30" | 4 | 0% | 4 | EA | 45 | 180
314 |  |  | Ligj, Common Name: Japanese Privet Ligustrum Japonicum, Cont: 15 Gal, Height/Spread: 4-5' | 4 | 0% | 4 | EA | 45 | 180
315 |  |  | Misg, Common Name: Maiden Grass Miscanthus Sinensis `Gracillimus`, Cont: 3 Gal, Height/Spread: 24-30" | 27 | 0% | 27 | EA | 35 | 945
316 |  |  | Vibs, Common Name: Sandankwa Viburnum Viburnum Suspensum, Cont: 7 Gal, Height/Spread: 30-36" | 24 | 0% | 24 | EA | 35 | 840
317 |  |  | Cams, Common Name: Shell Pink Camellia Camellia Sasanqua `Jean May`, Cont: 15 Gal, Height/Spread: 3-4' | 1 | 0% | 1 | EA | 45 | 45
318 |  |  | Serc, Common Name: Silver Saw Palmetto Serenoa Repens `Cinerea`, Cont: 3 Gal, Height/Spread: 12-15" | 10 | 0% | 10 | EA | 35 | 350
319 |  |  | Myrc, Common Name: Wax Myrtle Myrica Cerifera, Cont: 15 Gal, Height/Spread: 4-5' | 8 | 0% | 8 | EA | 45 | 360
320 |  |  | Vine/Espalier Traj, Common Name: Confederate Jasmine Trachelospermum Jasminoides `Confederate`, Cont: 3 Gal, Height/Spread: 2-3` | 4 | 0% | 4 | EA | 50 | 200
Ground Covers
321 |  |  | Traa, Common Name: Asiatic Jasmine Trachelospermum Asiaticum `Asiatic`, Cont: 1 Gal, Height/Spread: 4-6", Spacing: 30" O.C. | 85 | 0% | 85 | EA | 25 | 2125
322 |  |  | Lanc, Common Name: Gold Mound Lantana Lantana Camara `Gold Mound`, Cont: 1 Gal, Height/Spread: 6-8", Spacing: 24" O.C. | 18 | 0% | 18 | EA | 25 | 450
323 |  |  | Carp, Common Name: Prairie Fire Sedge Carex Testacea `Prairie Fire`, Cont: 1 Gal, Height/Spread: 12-15", Spacing: 30" O.C. | 30 | 0% | 30 | EA | 50 | 1500
324 |  |  | Sod/Seed Zoye, Common Name: Korean Grass Zoysia Japonica `Empire`, Cont: Sod, | 5026 | 10% | 5528.6 | SF | 2.5 | 13821.5
Grasses
325 |  |  | Muhc, Common Name: Pink Muhly Muhlenbergia Capillaris, Cont: 1 Gal, Height/Spread: 12-15", Spacing: 30" O.C. | 35 | 0% | 35 | EA | 45 | 1575
Concrete For Footing
8" Wide CMU Wall Footing
326 | A1.0 / L2.1 |  | Concrete For 2'-2" wide x 1'-0" deep Footing Reinforced With #4 Rebar Both Ways( Concrete 3500 PSI) | 8 | 10% | 8.8 | CY | 800 | 7040
1'-0" Wide CMU Wall Footing
327 | A1.0 / L2.1 |  | Concrete For 3'-2" wide x 1'-0" deep Footing Reinforced With #4 Rebar Both Ways( Concrete 3500 PSI) | 14 | 10% | 15.4 | CY | 800 | 12320
2'-0" x 2'-0" Column Footing
328 | A1.0 / L2.1 |  | Concrete For 2'-8" x 2'-8" x 1'-0" Deep Square Footing Reinforced With #4 Rebar Both Ways( Concrete 3500 PSI) | 0.52 | 10% | 0.572 | CY | 800 | 457.6
CMU Walls
8" Wide CMU Wall
329 | A1.0 / L2.1 |  | 8" x 8" x 16" Grout Fill CMU Block Wall | 286 | 10% | 314.6 | SF | 13.4 | 4215.64
330 | A1.0 / L2.1 |  | 0'-10" wide Brick Cap | 105 | 10% | 115.5 | LF | 12.3 | 1420.65
1'-0" Wide CMU Wall
331 | A1.0 / L2.1 |  | 8" X 8" X 16" Cmu Block Wall With Grout Fill, With Horizontal Bed Reinforcing At 8" O.C. And #5 Reinforcing Bars At 3'-6" O.C. With Dowels To Match (With 2'-0" Minimum Overlap From Footing To Top Of Cmu Wall) Fill All Cells. | 773 | 10% | 850.3 | SF | 13.4 | 11394.02
332 | A1.0 / L2.1 |  | 1'-2" wide Brick Cap | 116 | 10% | 127.6 | LF | 12.3 | 1569.48
2'-0" x 2'-0" CMU Column
333 | A1.0 / L2.1 |  | 8" x 8" x 16" CMU Block With Grout Fill | 14 | 10% | 15.4 | SF | 13.4 | 206.36
334 | A1.0 / L2.1 |  | 2'-3" Wide Brick Cap On Column | 2 | 0% | 2 | EA | 200 | 400
|  | DIV. 33 | Utilities | [6 empty] | 25000
| L3.1 |  | Lights Fixtures
335 |  |  | FX Luminaire CA - LED Light, Material: Copper, Finish: (CU) Copper, Electrical: 10 to 15 Volts, Lamp: LED, WattS: 10.1W, Mounting: (SSS) Super Slot Spike | 13 | 0% | 13 | EA | 1000 | 13000
336 |  |  | FX Luminaire FB - LED Light, Material: Aluminum Alloy, Finish: (BZ) Bronze Metallic, Electrical: 10 to 15 Volts, Lamp: 1LED, WattS: 2W, Mounting: (SSS) Super Slot Spike | 6 | 0% | 6 | EA | 1000 | 6000
337 |  |  | FX Luminaire MO - LED Light, Material: Brass, Finish: (AB) Antique Bronze, Electrical: 10 to 15 Volts, Lamp: 1LED, WattS: N/A, Mounting: In-Wall | 6 | 0% | 6 | EA | 1000 | 6000
SUB TOTAL | [8 empty] | 1695139.4807 | 1695139.4807
OVERHEAD & PROFIT (25%) | [7 empty] | 25% | 423784.8702 | 423784.8702
TOTAL BID | [8 empty] | 2118924.3509 | 2118924.3509